## Slide 1
School of Basic and Applied Sciences
Course Code : BBS01T1008 Course Name: Biology For Engineers
Name of the Faculty: Dr. Meenakshi Singh Program Name: B.Tech
Recording Electrodes, Electrocardiograph

## Slide 2: Recaptulation
Cell Membrane
Chemical composition and its structural plan
  Model of cell membrane: Fluid Mosaic Model
  Membrane fluidity,Functions of cell membrane
  Physiology in detail
  synapse,EPSP,IPSP,ECG
  Biopotentials

## Slide 3
Objectives
Recording Electrodes, Electrocardiograph,

## Slide 4
Bioelectric Signals

## Slide 5
ECG Electro-Cardiogram, Heart activity EMG Electro-Myogram, Muscle movement EOG Electro-Oculogram, Eye movement EEG Electro-Encephalogram GSR Galvanic Skin Response
● Measured with electrodes: skin-electrode interface: Ions <--> Electrodes
Breathing, temperature, movement etc.
● Measured with other sensors / transducers:
NTC, LDR, piezo-crystal, hall-sensor, Accelerometer, Goniometer, …
Bioelectric Signals

## Slide 6
  The ionic potential originated with the result of electrochemical activity of certain special cells/tissues
  own monitoring signals, which convey information about the functions they represent.
  Such signals are associated with nerve conduction, brain activity, heart activity, muscle activity etc
Ionic voltage
Transducer
Electric voltage
of Biosignal/Biopotential:Potential Sources:

## Slide 7: Sources of Bioelectric Potential
  Such signals:
  Used for extracting information on a biological systems(physiological systems)
  Phenomenon that conveys information which is used for diagnosis
  Process of extracting information could be as simple as feeling pulse of a person on the wrist or as complex as analyzing the structure of internal soft tissues by an ultrasound scanner

## Slide 8
S. No | Signals | sources
1 | EEG, ENG, EMG | Nervous system
2 | EOG | Occular System
3 | ERG | Corniel Retinal Position
4 | ECG | Cardiovascular system
5 | PULSE RATE | ,,
6 | BLOOD PRESSURE | ,,
7 | BLOOD FLOW | ,,
8 | PCG | Heart valves
9 | EMG | Muscular system
10 | EGG | Gastroinstinal track
SOURCES OF BIMEDICAL SIGNALS:

## Slide 9
SOURCES OF BIMEDICAL SIGNALS:

## Slide 10: Classifications Biopotentials/Biomedical signals:
Classifications of Biopotentials/Biomedical signals:
    Biopotentials For Examples
  Bioelctric signals: ECG, EMG, EEG, EOG, ERG, EGG
  Bioacoustic signals: Blood flow thr Heart valve sound
  Biomechanical signals: Movement of the chest walls
  Biochemical signals: pCO2, pO2
  Biomagnetic signal: MagnetoEG
  Biooptical signal: transmitted/back scattered light
  Bioimpedance: Galvanic skin resistance
Details-
BIMEDICAL SIGNALS

## Slide 11
ECG - Electrocardiogram
ECG - Electrocardiogram

## Slide 12
ECG - applications
● Diagnostics
● Functional analysis
● Implants (pace maker)
● Biofeedback (Heartrate variability, HRV)
● Peak Performacne Training, Monitoring
ECG - Electrocardiogram

## Slide 13: ECG - Electrocardiogram
ECG/EKG (electrocardiogram)
Records the heart's electrical activity:
Heart beat rate
Heart beat rhythm
Heart strength and timing

## Slide 14: BACKGROUND
ECG works mostly by detecting and amplifying the tiny potential changes on the skin that are caused when the electrical signal in the heart muscle is charged and spread during each heart beat.
This is detected as tiny rises and falls in the voltage between two electrodes placed either side of the heart.
ECG - Electrocardiogram

## Slide 15: BACKGROUND
The heart's electrical system:
Sinoatrial(SA) node
Atrioventricular(AV)
node
His-Purkinje system
ECG - Electrocardiogram

## Slide 16: BACKGROUND
P wave: signal spread from SA node to make the atria contract.
P-Q Segment: signal arrives AV node stay for a instant to allow the ventricle to be filled with blood.
Q wave :After the Buddle of His the signal is divided into two branches and run through the septum.
R,S wave: Left and right ventricle contraction are marked by the R,S wave.
T wave: ventricle relaxing
Schematic representation of normal ECG
ECG - Electrocardiogram

## Slide 17: ECG SIGNAL
ECG bio-signal typical specifications:
  low differential voltage from 0.4 to 3 mV
  high common-mode rejection ratio level
  low frequency range
  high noise
ECG - Electrocardiogram

## Slide 18: ECG SIGNAL
Artifacts (disturbances) can have many causes. Common causes are:
Movement
Baseline drift
Sudden movement
ECG - Electrocardiogram

## Slide 19: ECG SIGNAL
Electrical interference
From a nearby electrical appliance. A typical example is a 100 Hz background distortion from fluorescent lights. To be confused with atrial fibrillation.
ECG - Electrocardiogram

## Slide 20: ECG ELECTRODE
Lead
The signal recorded as the difference between two potentials on the body surface is called an "ECG lead". Each lead is said to look at the heart from a different angle.
ECG - Electrocardiogram

## Slide 21: ELECTRODE
Lead position
Lead III
Lead 12
ECG - Electrocardiogram

## Slide 22: ECG ELECTRODE
Limb Leads (Bipolar)
Chest Leads (Unipolar)
Augmented Limb Leads (Unipolar)
Wet, dry and insulating…
A typical surface electrode used for ECG recording is made of Ag/AgCl, as shown on right Figure . The disposable electrodes are attached to the patients’ skin and can be easily removed.
ECG - Electrocardiogram

## Slide 23
A 0.5-uVrms 12-uW Wirelessly Powered Patch-Type Healthcare Sensor [1]
Thick-ﬁlm electrodes
Fabric inductor
W-BSN controller
Desired Circuit Design (LDO , NCA, PGA, ADC)
ECG - Electrocardiogram

## Slide 24: ECG - Electrocardiogram
Advantages:
Long-term continuous monitoring, comfortable without skin irritation
Wireless powered without battery through fabric inductor coupling is realized.
Low electrode referred noise by NCA
Small IC size (2.6 mm2 )
Convenience and Safety

## Slide 25: DESIGN
System Architecture:
Controller on chest band:
12 x 4 inductor array and W-BSN controller.
sensors are attached at arbitrary locations.
automatically ﬁnds the locations and activates each sensor by self-conﬁguration
ECG - Electrocardiogram

## Slide 26
System Architecture:
B. Wireless powered Sensor:
Two dry electrodes
Sensor chip
P-FCB inductors
Adhesive bandage
Take the power overhead from the sensors, moving it to the relatively power-sufﬁcient health monitoring chest band.
ECG - Electrocardiogram

## Slide 27
EMG - Electromyogram
EMG - Electromyogram

## Slide 28
EMG surface (glue-) electrodes
EMG - Electromyogram

## Slide 29
EMG electrodes (passive)
EMG electrodes
(active)
EMG - Electromyogram

## Slide 30
EMG electrodes
(active)
EMG - Electromyogram

## Slide 31
Recording locations for facial EMG

## Slide 32
Needle electrodes adhesive electrode
EMG

## Slide 33
EMG - applications
● Rehabilitation
● Functional analysis
● active Prothetics, Orthesis
● Biomechanics, Sports medicine
EMG

## Slide 34
[1] Long Yan, Jerald Yoo, Hoi-Jun Yoo.; A 0.5-uVrms 12-uW Wirelessly Powered Patch-Type Healthcare Sensor for Wearable Body Sensor Network, IEEE journal of solid-state circuits, vol. 45, no. 11, Nov 2010
[2] Amy D. Droitcour, Olga Boric-Lubecke Gregory; Signal-to-Noise Ratio in Doppler Radar System for Heart and Respiratory Rate Measurements, IEEE transactions on Microwave theory and techniques, vol 57,no.10, OCT 2009.
[3] Refet Firat Yazicioglu; Patrick Merken; Robert Puers; A60 uW60 nV/ Hz Readout Front-End for Portable Biopotential Acquisition Systems, IEEE journal of solid-stae circuits, Vol,42, No.5, May 2007
[4] Anna Gruetzmann, Stefan Hansen and J¨ org M¨ uller; Novel dry electrodes for ECG monitoring, Journal of Physiological Measurement, 2007 Page(s): 1375–1390
[5] Long Yan; Joonsung Bae; Hoi-Jun Yoo; A 3.9 mW 25-Electrode Reconﬁgured Sensor for Wearable Cardiac Monitoring System, IEEE Journal of solid –state circuits, Jan 2010
References